## Sheet1
COMPANY NAME | Esaote North America |  |  |  |  | Fukuda Denshi | GE Healthcare | [16 empty] | Hitachi Aloka Medical |  |  |  | Konica Minolta |  | Mindray |  |  | Philips |  |  |  | Samsung Electronics America Inc. |  |  | Siemens |  |  | Terason |  |  | Toshiba America Medical Systems |  |  |  | Zonare
Model | MyLabSeven | MyLabAlpha | MyLabSix | MyLabGamma | MyLabTwice | UF-760AG | LOGIQ E9 with XDclear | LOGIQ S8 | LOGIQ S7 | LOGIQ e R6 | Venue 50 | Vivid E9 with XDclear | Vivid q |  | Vivid T8 | Vivid q | Vivid S6 | Vivid i | Vivid S5 | Voluson E10, Voluson E10 with e4D technology | Voluson E6 | Voluson E8 expert | Voluson S6 | Arietta 70 | Arietta 60 | Noblus | F37 | Sonimage HS1 | Sonimage P3 | DC-8 | DC-7 | DC-N3 | Epiq 7 | Epiq 5 | Affiniti 70 | Affiniti 50 | RS80A | WS80A | HM70A | Acuson X600 | Acuson X700 | Acuson S3000 | uSmart 3300 | uSmart 3200T | t3200 | Aplio 500 Platinum | Aplio 300 Platinum | Xario 200 | Viamo | ZS3 | Z.One PRO
CE mark, date | 2011 | 2011 | 2014 | 2014 | 2010 | N/S | 2012 | 2013 | 2014 | Yes | Yes, 2013 | Yes | Yes | 2011 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 4Q-2014 | 2009-07-07 | 2011 | 2009 | 2012 | 2013 | 2013 | 2014 | 2014 | Yes, 2014 | Yes, 2013 | Yes, 2013 | 2014 | 2012 | 2012 | Yes, 2014 | Yes, 2013 | Yes, 2011 | Yes, 2014 | Yes, 2014 | Yes, 2013 | Yes, 2010 | Yes, 2012 | Yes, 2014
Clinical Applications | Comprehensive: cardiac, vascular, women's health, general imaging, point-of-care, more | Comprehensive: cardiac, vascular, women's health, general imaging, point-of-care, more | Comprehensive: cardiac, vascular, women's health, general imaging, more | Comprehensive: cardiac, vascular, women's health, heneral imaging, point-of-Ccare, more | Comprehensive: cardiac, vascular, women's health, general imaging, more | Gen, vasc, cardiac, OB/GYN, MSK, pediatric, sp proc | Abd., breast, GYN, transcranial, obstetrical, ped./neonatal, MSK, SP, urological, vasc., endocavitary, intraoperative | Abd., breast, vasc., GYN, obstetrical, shared service, MSK, SP, transcranial, ped/neonatal, urological, endocavitary | Abd., breast, vasc., GYN, obstetrical, shared service, MSK, SP, transcranial, ped/neonatal, urological, endocavitary | Abdomen, cardiac, gynecology, intraoperative, musculoskeletal, obstetrical, nerve block, pediatric and neonatal, small organ, urological, vascular, rheumatology, emergency department | Ophthalmic, fetal/OB, abd, pediatric, small org, neon cephalic, adult cephalic, cardiac, peripheral vascular, MSK conventional, MSK superificial, thoracic/pleural, transcranial, transvaginal, intraoperative, tissue biopsy/fluid drainage, vascular access (IV, PICC), nonvascular | Cardiac, vasc, TEE, abd, fetal/OB, peds, sm organs, adult/neontal cephalic, intra-op, transcranial | Card, vasc, abd, OB, peds, sm organs, neonat/adult cephalic, stress, breast, nerve, ICE | breast | Card, Vasc, peds, fetal/obstetrics, urological, abdom, transcranial, sm parts, musculoskeletal, TEE | Card, vasc, abd, OB, peds, sm organs, neonat/adult cephalic, stress, breast, nerve, ICE | Card, vasc, abd, OB, GYN, peds, sm organs, neonat/adult cephalic, stress, breast, nerve, coronary | Card, vasc, abd, OB, peds, sm organs, neonat/adult cephalic, stress, breast, nerve, ICE | Card, vasc, abd, OB, GYN, peds, sm organs, neonat/adult cephalic, stress, breast, nerve, coronary | OB/fetal echo, GYN, abd, small parts, breast, vasc, peds, transrectal, cardiology, cephalic, MSK | Obstetrics, gynecology, abdomen, small parts, cardiology, urology, peripheral vascular, pediatric, neurology, orthopedics | Obstetrics, gynecology, abdomen, small parts, cardiology, urology, peripheral vascular, pediatric, neurology, orthopedics | Obstetrics, gynecology, abdomen, small parts, cardiology, urology, peripheral vascular, pediatric and orthopedics | Radiology, cardiology, vascular, TEE | Radiology, cardiology, vascular, TEE |  |  | Abd, breast, sml parts, MSK, vasc | Abdominal, chest and pulmonary for free fluid, AAA and eFAST exams, PICC lines, OB/GYN, bladder volume | General purpose, shared service | General purpose, shared service | General purpose | Cardiac, radiology, womens healthcare; includes TEE, MSK, GYN, breast, prostate, strain elastography, shearwave elastography, TDI, speckle tracking | Cardiac, radiology, womens healthcare; includes TEE, MSK, GYN, breast, prostate, strain elastography, shearwave elastography, TDI imaging, speckle tracking | Cardiac, radiology, womens healthcare; includes TEE, MSK, GYN, breast, prostate, strain elastography, shearwave elastography, TDI imaging, speckle tracking | Cardiac, radiology, womens healthcare; includes TEE, MSK, GYN, breast, prostate, strain elastography, TDI imaging, speckle tracking | Abdominal, obstetrics, gynecology, urology, vascular, TCD, cardiac, small parts, MSK, breast, pediatrics | General, abdominal, obstetrics, gynecology, fetal heart, urology, vascular, small parts, MSK, breast, pediatrics | General, abdomen, gynecology, obstetrics, fetal heart, urology, vascular, small parts, musculoskeletal, breast, cardiology, pediatric, neonatal, TCD | Abdomen, renal, OB/GYN, cardiology, vascular, small parts, orthopedics, MSK, urology, cranial, emergency medicine | Abdomen, OB/GYN, 3-D/4-D, Cardiac, ICE, TEE, vascular, small parts, urology, orthopedic, TCD, e med | Abdomen, OB/GYN, cardiac, TEE, vascular, small parts, urology, orthopedic, MSK, pediatric, interventional radiology | Anesthesia, breast, cardiology, critical care, emergency medicine, endocrinology, mobile, MSK, OB/GYN, phlebology, radiology/IR, vascular | Anesthesia, breast, critical care, emergency medicine, endocrinology, mobile, military, MSK, OB/GYN, phlebology, vascular | MSK, breast, thyroid, vascular | Abdomen, OBGYN, cardiac, vascular, breast, small parts, Breast, MSK, urology | Abdomen, OBGYN, cardiac, vascular, breast, small parts, Breast, MSK, urology | Abdomen, OBGYN, cardiac, vascular, breast, small parts, breast, MSK, urology | Abdomen, OBGYN, vascular, breast, small parts, breast, MSK, urology | Radiology/shared services, abd, pediatric, neonat, vasc, cadiac, TEE,intracard, intra-op, opthal, MSK, fetal, OB/GYN 3-D/4-D, CEUS, elastography | Radiology/shared services, anesthesia, EMed, abd, pediatric, vasc, cadiac, opthal, MSK, fetal, OB/GYN 3-D/4-D, CEUS, elastography
What are the key differenciating factors of this system | Premium performance, high value; modern user-friendly design; large HD widescreen; touchscreen control; maneuverability; standby battery; eHD and Crystaline imaging and a preium Strain package | Prepare to be amazed by the performance of MyLabAlpha proving great things come in small packages; sleek modern portable design; eHD and Crystaline imaging and a premium Strain package | A high-performance shared service system; a great value with broad clinical applications; sleek modern design; light-weight and easy to maneuver | A high-performance shared service portable system; a great value with broad clinical applications; sleek modern portable design; battery operation for mobile services | Premium flagship product; eHD and Crystaline imaging; easy to use; broad clinical applications; advanced Virtual Navigator image fusion; optional point-of-care hand-carried MyLabSat system (2-in-1) | Finger-probe, portability, warranty, ergonomics | Raw data, B-flow imaging, XDclear transducers | Raw data, B-flow imaging, portability features | Raw data, B-flow imaging, portability features | Workflow, advanced quantitative analysis (speckle tracking strain - AFI), exceptional image quality, ergonomics, easy 4-D, protocol template tools, EchoPAC workstation compatibility | Size, weight, portability, fast bootup, full touch screen, multi-touch, configurable menu, waterproof on front cover, wipeable on front cover with cleaners, needle recognition | Workflow, advanced quantitative analysis (speckle tracking strain - AFI), exceptional image quality, ergonomics, easy 4-D, protocol template tools, EchoPAC workstation compatibility | Size, weight, portability, CV and shared services, image quality, ergonomic design, productivity tools, connectivity, true scan raw data, EchoPAC workstation compatibility | 2mm coronal plane, wide FOV (15 cm) reverse curve transducer | Size, weight, mobility, CV and Shared Services, Image quality, ergonomic design, productivity tools, connectivity, price/feature/benefit value point | Size, weight, portability, CV and Shared Services, Image quality, ergonomic design, productivity tools, connectivity, true scan raw data, EchoPAC workstation compatibility | Size, weight, portability, CV and Shared Services, Image quality, ergonomic design, productivity tools, connectivity, true scan raw data, EchoPAC workstation compatibility | Size, weight, portability, CV and shared services, Image quality, ergonomic design, productivity tools, connectivity, true scan raw data, EchoPAC workstation compatibility | Size, weight, mobility, CV and shared services, Image quality, ergonomic design, productivity tools, connectivity, true scan raw data, EchoPAC workstation compatibility |  | Advanced technology 2-D/-3D features including HDlive, STIC, TUI, B-glow and sdv VCI with Omniview; eorkflow and automation; SonoVCADheart; SonoAVC; SonoNT/IT, SonoBiometry, scan assistant, ergonomic design | Advanced technology 2-D/-3D features including HDlive, advanced STIC; volume -SRI, B-flow, TUI and adv VCI with Omniview; workflow and automation; SonoVCADheart; SonoAVC; SonoNT/IT, sonobiometry, scan assistant, ergonomic design | Advanced technology 2-D/3-D features including single view; workflow and automation; SonoL&D; SonoAVCfollicle; SonoBiometry, scan assistant; small, ergonomic design | Premium-class system that suports a comprehensive line of general purpose and specialty probes, allowing a single system to be used more efficiently and in more clinical situations | Compact cart-based system featuring the latest in digital signal processing and advanced probe designs | Full size console functionality and image quality in a portable package; shares a common probe set with the larger, cart-based Arietta systems making it a perfect complement for portables | Thoroughly simple and compact; as a user-friendly diagnostic ultrasound system full of functional and ergonomic features | Triad Tissue Harmonic Imaging (T2HI) with broadband probe, simple needle visualization (SNV), simple console and touch panel UI, ImagePilot linkage | Size, quick accessibility and ease of use enables information gathering at the point-of-care; cost-effective manner for clinicians/institutions to more quickly deliver better and safer care | 3T transducer, duodecimal beam parallel imaging | iClear speckle reduction, quad beam parallel imaging | Small footprint, cost effective, built-in battery | nSIGHT Imaging Technology with xMATRIX Imaging, ShearWave Elastography | nSIGHT Imaging Technology with PureWave Imaging, ShearWave Elastography | Precision Beamforming Imaging Technology with PureWave Imaging, ShearWave Elastography | Precision Beamforming Imaging Technology | S-Detect, HD LED monitor, architecture in combination with S-Vue transducer technology, ClearVision, MultiVision, Trapezoid, Advanced QuickScan, EZ Exam Protocol | 5D NT, 5D LB, 5D Cine, 3-D volume slice, MPI e-DEB, Thyroid ECI, FRV, inversion, 2-D NT, EZ exam protocol, SDMR evo, ADVR, mobile export (Hello Mom App), SCI, trapezoid, QuickScan, SDMRTMevo, VOCAL, FAD, SFVI, VSI, MagiCut | Digital TGC, panoramic, ElastoScan, ADVR, foot switch, video converter | The Acuson X600 is an affordable ultrasound system built around an advanced imaging engine that excels in basic radiological and OB/GYN needs in shared service environments | The Acuson X700 is built around the latest imaging technologies, equipped with a rich set of standard features and designed for the ultimate in comfort and usability | The Acuson S3000 is an ultra-premium imaging platform delivering pioneering technologies like eSieFusion imaging, multimodality review, eSieGuide needle tracking, virtual touch, and HD transducers | 1 TB hybrid hard drive, Smart Console ergonomic layout, open architecture, Smart Technology, Smart Resolution Imaging, and exclusive Enhanced Needle Visualization, uConnect remote capabilities | 128 GB solid state hard drive, touch screen with Smart Gestures, lightweight (5 lbs), fast boot-up time, uConnect remote capabilities | Enhanced image quality, custom exam presets, intuitive interface, laptop computer versatility, uConnect remote capabilities | DTHI, ADF, Precision Imaging, MicroPure, FlyThru, Smart Fusion, SMI | DTHI, ADF, Precision Imaging, MicroPure | DTHI, ADF, Precision Imaging | TissuePure, ADF, Tablet Mode | Patented Zone sonography technology (ZST) is a unique image formation approach that guarantees the entire ultrasound image is in focus, at every point, enabling the most accurate diagnosis possible; includes patented sound speed correction; free imaging improvement updates for 5 years; 5-year warranty | Patented Zone sonography technology (ZST) is a unique image formation approach that guarantees the entire ultrasound image is in focus, at every point, enabling the most accurate diagnosis possible; includes patented sound speed correction; free imaging improvement updates for 5 years; 5-year warranty
Probe Types, MHz
Mechanical Sector | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | n/a | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | 3-5 MHz | N/A | N/A | N/A | V6-2 | V6-2 | V6-2 | V6-2 | No | No | No | No | No | N/S | No | No | No | No | No | No | No | N/A | N/A
Annular Array | N/A | N/A | N/A | N/A | N/A | N/A | N/S | N/A | N/A | N/A | N/A | N/A | N/A | n/a | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | NA | NA | NA | NA | No | No | No | No | No | N/S | No | No | No | No | No | No | No | N/A | N/A
Linear Array | 3-18 MHz | 3-18 MHz | 3-18 MHz | 3-18 MHz | 3-22 MHz | 5-12 Mhz finger probe, 40 mm, 50 mm | 9L, 11L, ML6-15, RSP6-16, L8-18i | 9L-D, 11L-D, ML6-15-D, L8-18i-D | 9L-D, 11L-D, L3-12-D, ML6-15 | 9L-RS, 12L-RS, L4-12t-RS, L8-18i-RS, L10-22-RS | 12L-SC, L8-18i-SC | 9L-D, 11L-D, ML6-15-D | 8L-RS, 9L-RS, 12L-RS | n/a | L6-12-RS | 8L-RS, 9L-RS, 12L-RS | 8L-RS, 9L-RS, 12L-RS | 8L-RS, 9L-RS, 12L-RS | 8L-RS, 9L-RS, 12L-RS | 9L-D,11L-D,ML6-15-D | 11L-D, 9L-D | 9L-D, 11L-D, ML6-15-D | 12L-RS | 7 probes available, ranging from 3-18 MHZ | 7 probes available, ranging from 3-18 MHZ | 8 probes available, ranging from 3-18 MHz | 6 probes available, ranging from 2.5-13 MHZ | L18-4, broadband linear probe | N/A | L12-3E, L14-6NE, L14-6WE, L7-3E | 7L4A, L11-4, L12-4, L7-3, L14-6 | 7L4A, L12-4A, L14-6A | L18-5, L12-5, L12-3, L15-7io | L18-5, L12-5, L12-3, L15-7io | L18-5, L12-5, L12-3, L12-4, L15-7io | L18-5, L12-5, L12-4, L15-7io | L3-12A, LA3-16A, LA2-9A, L7-16, LA3-12AI (hockey stick) | L5-13, L3-12 | L4-7, L5-13, L7-16 | 5-10, 4-12 | 5-10, 4-12, 5-15 | 5.5-18, 4-9, 5-14, 5-14 | 15L4, 12L5, 8L2 | 15L4, 12L5, 8L2 | 15L4, 8L2 | Yes | Yes | Yes | Yes | L20-5, L14-5w, L14-5sp, L10-5, L8-3 | L14-5w, L14-5sp, L10-5, L8-3
Convex Array | 1-8 MHz | 1-8 MHz | 1-8 MHz | 1-8 MHz | 1-8 MHz | 2-5 Mhz curved,3-6Mhz 4D volume,4-9Mhz microconvex | C1-6, C1-5, C2-9, M6C, RAB2-5, RNA5-9, RAB6 | C1-5-D, 3CRF-D, 10C-D, RAB6-D, C2-6b-D | C1-5-D, 3CRF-D, 10C-D, 8C, RAB4-8-D | C1-5-RS,8C-RS, E8C-RS | 4C-SC, 10C-SC, E8CS-SC | 4C-D, C1-5-D, C2-9-D, 8C, iC5-9-D | 4C-RS, 8C-RS | 14-6 MHz REVERSE CURVE | 4C-RS, 8C-RS | 4C-RS, 8C-RS | 4C-RS, 8C-RS | 4C-RS, 8C-RS | 4C-RS, 8C-RS | C1-5-D,C4-8-D,4C-D, RAB2-5D,RAB6-D,RM6C,eM6C | 4C-D, C1-5-D, C4-8-D, RAB2-5-D, RAB6-D, RNA5-9-D, RSP6-16-D | 4C-D, C1-5-D, C4-8-D, RAB2-5-D, RAB6-D, RNA5-9-D, RM6C-D | 4C-RS, 8C-RS, RAB2-6-RS | 10 probes available, ranging from 1-13 MHZ | 10 probes available, ranging from 1-13 MHZ | 21 Probes, ranging from 1-13 MHz | 11 probes available, ranging from 2.5-12 MHz | C5-2 | N/A | C5-2E, C7-3E,C11-3E | C5-2, 6C2 | 3C5A, 6C2A | X6-1,C5-1, C9-2, C8-5 | C5-1, C9-2, C8-5 | C5-1, C6-2, C9-2, C8-5 | C6-2, C8-5 | CA1-7A, CF4-9, CA2-8A | C2-6, SC 1-6 | C2-6,SC1-6,CF4-9 | 1.4-5, 1.8-6 | 1-5, 2-6, 2-7 | 4-8, 1.5-6, 1-4.5, 2-6 | 5C2, 9MC3 | 5C2, 9MC3 | 6C1, 5C2 | Yes | Yes | Yes | Yes | C9-3, C8-3 3D, C6-2, Curved phased: C4-1, C10-3 | C9-3, C6-2, Curved phased: C4-1, C10-3
Phased Array | 1-8 MHz | 1-8 MHz | 1-8 MHz | 1-8 MHz | 1-11 MHz | 5-8 Mhz sector, 2-5 Mhz sector | S1-5, M5S, S4-10, 6S | M5S-D, 3Sp-D, S4-10-D, S1-5-D, 6S-D, 6Tc-D | 3Sp-D, S1-4-D, S4-10-D, 6S-D, 6Tc-RS | 3Sc-RS, 6S-RS | 3S-SC | M5Sc-D, M5S-D, 4V-D, 6S-D, 12S-D | M4S-RS, 6S-RS, 7S-RS, 10S-RS, 12S-RS | n/a | 3Sc-RS, 6S-RS | M4S-RS, 6S-RS, 7S-RS, 10S-RS, 12S-RS | M4S, 6S, 7S, 10S, 12S (all RS) | 3Sc, 3S, 6S, 7S, 10S, 12S (all RS) | 3Sc, 3S, 6S, 7S, 10S, 12S (all RS) | S4-10-D, 3Sp-D | 3Sp-D, S4-10-D | 3Sp-D, S4-10-D | 3Sc-RS | 4 probes available, ranging from 1-9 MHZ | 4 probes available, ranging from 1-9 MHZ | 4 probes, ranging from 1-9 MHz | 3 probes available, ranging from 1.8-8 MHZ | WIP | N/A | P4-2E, P4-2NE, P7-3E, P10-4E,P7-3TE | P4-2, P7-3, P12-4 | 2P2 | X7-2, X7-2t, X5-1, S5-1, S8-3, S12-4, S7-3t | S5-1, S8-3, S12-4, S7-3t | X7-2t, S7-3t, S5-1, S4-2, S8-3, S12-4 | X7-2t, S7-3t, S4-2, S8-3, S12-4 | PM1-6A | PE2-4 | PE2-4,P3-8 | 1.0-4.0 | 1-4, 2.7-8 | 1-4.5, 1-4.5, 2.5-8, 4-10, 1-4.6 | 4V2, 8V3 | 4V2, 8V3 |  | Yes | Yes | Yes | Yes | P4-1c | P4-1c
Multifrequency | Yes, all probes | Yes, all probes | Yes, all probes | Yes, all probes | Yes, all probes | 2 types, auto adjust | Yes, all probes | Yes, all probes | Yes, all probes | All probes | Yes, all probes | All probes except pencil probes | All probes except pencil probes | Yes | All probes except Pencil probes | All probes except Pencil probes | All probes except Pencil probes | All probes except Pencil probes | All probes except Pencil probes | Yes | Yes | Yes | Yes | All | All | All | All | Yes | 3-5 MHz | All | All | All | All transducers | All transducers | All transducers | All transducers | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | All transducers | All transducers | All transducers | All transducers | All transducers | All transducers
Endovaginal | Yes | Yes | Yes | Yes | Yes | 14-7 Mhz | IC5-9, RIC5-9 | IC5-9-D, RIC5-9-D | IC5-9-D, RIC5-9-D | E8C-RS | E8CS-SC | iC5-9-D | e8C | n/a | E8C-RS | e8C-RS | e8C-RS | e8C-RS | e8C-RS | IC5-9-D, RIC5-9-D, RIC6-12 | IC5-9-D, RIC5-9-D | IC5-9-D, RIC5-9-D, RIC6-12-D | E8C-RS, RIC5-9W-RS | 2 probes, from 2-10 MHz | 2 probes, from 2-10 MHz | 3 probes, from 4-10 MHz | 3 probes, from 3-8 Mhz | No | N/A | V11-3E, V11-3WE | V10-4, V10-4B | V10-4, V10-4B | C10-3v, C10-4ec, 3D9-3v | C10-3v, C10-4ec, 3D9-3v | C10-3v, C9-4v, C10-4ec, BP10-5ec, 3D9-3v | C10-3v, C9-4v, C10-4ec, BP10-5ec, 3D9-3v | E3-12A, V5-9 | VR5-9, E3-12 | EVN 4-9 | 3-9, 4-9 | 3-9, 4-9 | 4-9, 4-9 | 8EC4 | 8EC4 |  | Yes | Yes | Yes | Yes | E9-4 | E9-4
Endorectal | Yes | Yes | Yes | Yes | Yes | N/S | IC5-9 | IC5-9-D | IC5-9-D, BE9CS | Not specified | N/A | N/A | N/A | n/a | N/A | N/A | N/A | N/A | N/A | IC5-9-D, RIC5-9-D, RIC6-12 | IC5-9-D, RIC5-9-D | IC5-9-D, RIC5-9-D, RIC6-12-D | E8C-RS, RIC5-9W-RS | 5 probes, from 2-10 MHz | 5 probes, from 2-10 MHz | 5 probes, from 4-10 MHz | 2 probes, from 3-8 Mhz | No | N/A | V11-3E, V11-3WE | V10-4, V10-4B | V10-4, V10-4B | C10-4ec | C10-4ec | C10-4ec, BP10-5ec | C10-4ec, BP10-5ec | E3-12A | VR5-9, E3-12 | EVN4-9 | 4.0-9.0 | 4.0-9.0 | 3.75-9 | 8EC4 | 8EC4 |  | Yes | Yes | Yes | No | E9-4 | E9-4
Others | TEE, 4-D convex, Doppler pencil probes | TEE, 4-D convex, Doppler pencil probes | TEE, 4-D convex, Doppler pencil probes | TEE, 4-D convex, Doppler pencil probes | TEE, 4-D convex, Doppler pencil probes | Finger probe 7-12 mhz, linear 25mm | Intraoperative, 4-D, CW | CW, 4D | CW, 4D | Not specified | Not specified | Multiplane TEE: 6Tc,9T, 6VT-D (4-D TEE), 4V-D (4D TTE) | Intraop: i12L, P2D, P6D, 6T, 6Tc, 9T (all RS), ICE | n/a | 6Tc-RS (TEE), P2D | Intraop: i12L, P2D, P6D, 6T, 6Tc, 9T (all RS), ICE | Intraop: i12L, 6T, 6Tc, 9T, P2D, P6D (all RS) | Intraop: i12L, P2D, P6D, 6T, 6Tc, 9T (all RS), ICE | Intraop: i12L, 6T, 6Tc, 9T, P2D, P6D (all RS) | eM6C - 1st commercially available curved e4D probe | N/S | N/S | N/S | Bi-plane, TEE, 3D/4D, Independent | Bi-plane, TEE, 3D/4D, Independent | Real-time Bi-plane, TEE, 3D/4D | Bi-plane, TEE, 3D/4D, Independent | No | N/A | CW2s, CW5s | N/A | N/A | D2CW, D5CW, D2TCD | D2CW, D5CW, D2TCD | D2CW, D5CW, D2TCD | D2CW, D5CW, D2TCD | V4-8 (volume), CW6.0 (pencil) | V4-8 (volume) | V4-8 (volume), CW 2.0, CW 4.0 (pencil) | CW (2, 5 MHz), wobbler (1.5-5.5, 2-7, 3-9 MHz) | CW (2, 5 MHz), wobbler (1.5-5.5, 2-7, 3-9 MHz) | CW (2-5 MHz), TEE (3-7, 4-8 MHz), ICE (4-10 MHz) wobbler (1-7, 4-9 MHz) | 16HL7, Pedoff | 16HL7 | 16HL7 | 4-D, Intra-operative, Single Crystal, Dynamic Microslice | 4-D, Intraoperative | 4-D, Intraoperative | Interoperative | C9-3 sp Interoperative, P9-3c ICE, P8-3TEE, A2cw, A5cw | P8-3TEE, A2cw, A5cw
Frame Rate, fps | Up to 2,183 Hz | Up to 2,183 Hz | Up to 1,449 Hz | Up to 1,449 Hz | Up to 800 Hz | >200fps B-Mode >40fps cfm | >4,000 | 2399 | 2399 | Over 1,000 frames or over 60 seconds CINE memory (64 MB) depend on FOV, scanning lines, etc. | 93 fps | Exceeds 1,000 fps | >750 fps | n/a | >750 fps | >750 fps | >750 fps | >750 fps | >750 fps | Exceeds 1000 fps | Exceeds 1,000 fps | Exceeds 1,000 fps | >750 fps | 395+ | 395+ | Not specified | 745 | Minimum 30 pfs at B-mode | 8-16 fps | Max. 1,333 fps | Max. 700 fps | Max. 400 fps | >2,800 FPS | >2,800 FPS | Up to 1,400 FPS | Up to 1,400 FPS | Maximum: 1,946 Hz (probe dependent) | Maximum: 1,177 Hz (probe dependent) | Maximum: 386 Hz (probe dependent, FOV, depth and angle | Variable | Variable | Variable | Up to 150 | Up to 150 | Up to 150 | Up to 1087 | Up to 1087 | Up to 1019 | Up to 400 | New approach ZST | New approach ZST
Grayscale Levels | 256 | 256 | 256 | 256 | 256 | N/S | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 64 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 (8 bits) | 257 (8 bits) | 258 (8 bits) | Variable | Variable | Variable | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256
Preprocessing | Multiple settings | Multiple settings | Multiple settings | Multiple settings | Multiple settings | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Postprocessing | 10 | 10 | 10 | 10 | 9 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Complete retrospective imaging | Complete retrospective imaging
Max Display Depth, cm | 36 | 36 | 36 | 36 | 34 | 30 cm | 36 cm | 33 cm | 33 cm | 30 cm | 30 cm | 30 cm | 30 cm | 5 cm | 30 cm | 30 cm | 30 cm | 30 cm | 30 cm | 36 cm | 36 cm | 36 cm | 30 cm | 40 | 40 | 36 | 40 | up to 40 cm, C5-2 | 1-18 cm | 40 cm | 30.8 cm | 38.8 cm | 30 cm | 30 cm | 30 cm | 30 cm | 30 cm | 30 cm | 30 cm | 30 | 30 | 30 | 30 cm | 30 cm | 30 cm | 40 cm | 40 cm | 40 cm | 40 cm | 40 cm | 30 cm
Imaging Modes
M-Mode Display | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes, multiple layouts | Yes, multiple layouts | Yes, multiple layouts | Yes, multiple layouts | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
M-Mode and 2-D | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/S | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Yes | Yes, multiple layouts | Yes, multiple layouts | Yes, multiple layouts | Yes, multiple layouts | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
3-D | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | yes | No | No | No | No | No | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | N/A | N/A | Yes | Yes | Yes | xMATRIX, Mechanical 3D | Mechanical 3D | Mechanical 3D | Mechanical 3D | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | No | Yes | Yes
4-D | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | No | yes | No | No | No | No | No | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | N/A | N/A | Yes | Yes | Yes | xMATRIX, Mechanical 3D | Mechanical 3D | Mechanical 3D | Mechanical 3D | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | No | Yes | Yes
Harmonic Imaging | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Yes | All transducers | All transducers | All transducers | All transducers | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes, and compound harmonic | Yes, and compound harmonic
Doppler
Type | Color, power, velo-power, Xflow, PW, CW | Color, power, velo-power, Xflow, PW, CW | Color, power, velo-power, Xflow, PW, CW | Color, power, velo-power, Xflow, PW, CW | Color, power, velo-power, Xflow, PW, CW | CFW, PW, CW, M-mode | PW, HPRF, color, power Doppler, B-flow color | PW, HPRF, color, power Doppler | PW, HPRF, color, power Doppler | CW, PW, color, TVI/TVD (optional), CFM, PDI, hi-res PDI (option) | Color flow, power Doppler | CW, PW, color, tissue, 4-D color, bi/triplane color | CW, PW, color, power, B-Flow, tissue, strain | n/a | CW, PW, Color, Power, B-Flow*, Tissue, Strain | CW, PW, color, power, B-Flow, tissue, strain | CW, PW, color, power, B-Flow, tissue, strain | CW, PW, color, power, B-Flow, tissue, strain | CW, PW, color, power, B-Flow, tissue, strain | PW-HPRF, CW, PD, CFM, TD, HD flow, B-Flow | PW-HPRF, CW, PD, CFM, TD, HD flow, B-Flow | PW-HPRF, CW, PD, CFM, TD, HD flow, B-Flow | PW-HPRF, PD, HD flow, color flow TD | HPRF, PW, CW, TDI, color, eFlow, dual gate | HPRF, PW, CW, TDI, color, eFlow, dual gate | HPRF, PW, CW, TDI, color, fine flow | HPRF, PW, CW, TDI, color, eFlow | Color, power, PWD | Pulse-wave | PW, CW, HPRF, Power, Color | PW, CW, HPRF, Power, Color | PW, CW, HPRF, Power, Color | Pulsed and CW | Pulsed and CW | Pulsed and CW | Pulsed and CW | PW, CW, PD, S-flow directional PD, TDI, TWD | PW, CW, PD, S-flow directional PD, TDI, TWD | PW, CW, PD, S-flow directional PD, TDI, TWD | CW, PW, color, power, Doppler tissue imaging | CW, PW, color, power, Doppler tissue imaging | CW, PW, color, power, Doppler tissue imaging | Color, pulsed wave, power, directional power, continuous wave, tissue | Color, pulsed wave, power, directional power, continuous wave, tissue | Power, color, pulsed wave spectral | PWD, CWD, TDI, Directional power angio, ADF, SMI | PWD, CWD, TDI, Directional power Angio, ADF | PWD, CWD, TDI, Power Angio, ADF | PWD, TDI, CDI, Power Angio, ADF | Color, power, PW, CW, TDI | Color, power, PW, CW
Frequency Display | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | N/S | Yes | N/S | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | Yes | Probe specific | probe specific | probe specific | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes, 1-20 MHz | 1-14MHz
Velocity Display | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | N/S | Yes | N/S | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Power Doppler | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | N/S | Yes | N/S | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Duplex Mode | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | N/S | Yes | N/S | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Triplex Mode | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | N/S | Yes | N/S | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Functionality
Digital calipers | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 4 sets | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Linear, Elipse, Area, Volume | Linear, Elipse, Area, Volume | Linear, Elipse, Area, Volume | Yes | Yes | Yes | Yes | Yes | Yes
Selectable dynamic range | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  | Yes | Yes 30 -110 dB | 30-110 dB | n/a | 30-110 dB | 30-110 dB | 30-110 dB | 30-110 dB | 30-110 dB | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes, 5-55 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Adjustable transmit focus | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | ZST every pixel in focus | ZST every pixel in focus
Dynamic receive focus | Yes | Yes | Yes | Yes | Yes | Continuous | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | ZST every pixel in focus | ZST every pixel in focus
Measurements on VCR replay | No | No | No | No | Yes | N/S | Yes, DVR | Yes, DVR | No | No | No | Support for measuring on DVR | N/A | n/a | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/S | Yes | Yes | Yes | Yes, DVR | No | N/A | N/S | N/S | N/S | No | No | No | No | No | No | No | Yes | Yes | Yes | No | No | No | No | No | No | No | No VCR but DICOM | No VCR but DICOM
Pan/Zoom
Real-time image | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Zoom, HD zoom | Zoom, HD zoom | Zoom, HD zoom | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Frozen image | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Image Storage
Capacity, # of stored images | 250 GB | 250 GB | 250 GB | 250 GB | up to 50,000,000 | 160 GB HD, 3,000 frames | 500 GB HDD/335 GB | 500 GB HDD/112 GB | 500 GB HDD/112 GB | Internal(128G SSD): 100,000 w/o zoom,150,000 w/zoom external: USB HDD, USB disk, DVD | Internal SSD storage 50,000 images; USB, SD no limitation | 100,000 w/o zoom, 1,500,000 w/zoom | 100,000 w/o zoom, 1,500,000 w zoom |  | 100,000 w/o zoom, 1,500,000 w zoom | 100,000 w/o zoom, 1,500,000 w/zoom | 100,000 w/o zoom, 1,500,000 w/zoom | 100,000 w/o zoom, 1,500,000 w zoom | 100,000 w/o zoom, 1,500,000 w zoom | Not specified | CD-R, DVD, USB | HD, MOD, CD-RW, DVD, USB | CD-R, DVD, USB | Approx. 72,000 | Approx. 72,000 | Approx. 63,000 | Approx. 235,000 | 80 GB, SSD | 10000 | 113664 | 121993 | 89822 | 1 TB | 1 TB | 427 GB | 428 GB | Integrated SSD 512 GB | Integrated SSD 512 GB | Integrated SSD 512 GB | 500 GB, 300,000 | 500 GB, 300,000 | 2 TB hard drive |  | 128 GB SSD | 500 GB HD | 320 GB x 2 HDD | 320 GB x 2 HDD | 500 GB | 40 GB HDD | 120 GB | 120 GB
Cine | Up to 1,000 frames | Up to 1,000 frames | Up to 1,000 frames | Up to 1,000 frames | Up to 5,000 frames | Yes | Max # of frames 1,000,000, max time of 1,550 sec | Max # of frames 1,368,974, max time of 8,072 sec | Max. 2,766,468 | Yes | Yes | Yes | Yes | n/a | Yes | Yes | Yes | Yes | Yes | Yes | 280 GB HDD | 280 GB HD | 120 GB HDD | Yes | Yes | Yes | Yes | Up to 511 frames | No | Max. 640,031 | Max. 6,156 | Max. 12,392 | 10 minutes | 10 minutes | 10 minutes | 10 minutes | Max 12,700 frames | Max 12,700 frames | Max 2,030 frames | Yes | Yes | Yes | Yes | Yes | Yes | >1,000 frames | >1,000 frames | >1,000 frames | Up to 511 frames | Up to 660 seconds or 300 beats | Up to 300 seconds or 100 beats
DICOM 3.0 Compliant | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Yes | Yes | Yes | DICOM 2.0 | DICOM 2.0 | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
PACS interfaces | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/S | Yes | Yes | Yes | Yes | Yes | yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes, vendor neutral | Yes, vendor neutral | Yes, vendor neutral | Yes, vendor neutral | DICOM and others | DICOM and others
Analysis Packages
Cardiac scanning | Yes, stress, strain | Yes, stress, strain | Yes, stress, strain | Yes, stress, strain | Yes, stress, strain | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | No | Yes | Yes
Vascular scanning | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
OB/GYN Scanning | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | n/a | yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes
Others | Yes | Yes | Yes | Yes | Yes | MSK, pediatric, special procedures, general | Urology, renal calcs, fetal trending, hip, IMT | Urology, renal calcs, fetal trending, hip, IMT | Urology, renal calcs, fetal trending, hip, IMT | MSK, anesthesia, interventional, abd, SM org, adult/neontal cephalic, flow quantitative analysis | MSK, anesthesia, interventional, abd, SM org, adult/neontal cephalic | 2-D/4-D strain (AFI), 2-D/-4D auto EF, 4-D auto crop | Abd, peds, sm organs, breast, nerve, coronary, ICE | n/a | 2D Strain (AFI), 2DAuto EF | 2-D strain (AFI), 2-D auto EF | 2-D strain (AFI), 2-D auto EF | 2-D strain (AFI), 2-D auto EF | 2-D strain (AFI), 2-D auto EF | Abd, sm org, adult/neontal cephalic, transcranial | Abd, sm org, adult/neontal cephalic, transcranial | Abd, sm org, adult/neontal cephalic, transcranial | Abd, sm org, adult/neontal cephalic, transcranial | Urology, small parts, IMT, abdominal | Urology, small parts, IMT, abdominal | Urology, abdominal, IMT, user defined | Urology, small parts, IMT, abdominal | IMT measurement | Volume, polygon, ellipse | Abdomen, urology, SMP, EM, TCI, nerve | Abdomen, urology, SMP, EM, TCI, nerve | Abdomen, urology, SMP, EM, TCI, nerve | Radiology, small parts, prostate | Radiology, small parts, prostate | Radiology, small parts, prostate | Radiology, small parts, prostate | Abdomen, urology, carotid, fetal echo, LE/UE artery, LE/UE vein, TCD,thyroid, breast, testicle, auperficial, pediatric hip, MSK | Abdomen, urology, carotid, fetal echo, LE/UE artery, LE/UE vein,TCD, thyroid, testicle, superficial, pediatric hip, MSK | Urology, carotid, fetal dcho, LE/UE artery, LE/UE vein, radiology, TCD, thyroid, breast, testicle, superficial, pediatric hips, MSK | N/A | N/A | N/A | Flexible Windows-based application reporting | Flexible Windows-based application reporting | Flexible Windows-based application reporting | Auto IMT | Auto IMT | Auto IMT | IMT | Abdominal, pediatric hip, programmable | Abdominal, pediatric hip, programmable
# of user-programmable protocols | No limit | No limit | No limit | No limit | No limit | Multiple | Extensive | Extensive | Extensive | N/A | No | Unlimited with Scan Assist | N/A | Extensive | Unlimited with Scan Assist | N/A | N/A | N/A | N/A | Extensive | Yes | Extensive | Yes | 100 | 100 | 22 application, 8 PSS, 35 region data | 45 for each application | N/A | 11 | N/S | N/S | N/S | 50 | 50 | 50 | 50 | Extensive | Extensive | Extensive | No | N/A | N/S | Unlimited | Unlimited | Unlimited | Unlimited | Unlimited | Unlimited | N/A | Unlimited | Unlimited
User programmable formulas and tables | Yes | Yes | Yes | Yes | Yes | N/S | Yes | Yes | Yes | Yes | No | Yes | Yes | n/a | yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A | N/A | Yes | Yes | Yes | Unlimited | Unlimited | Unlimited | Unlimited | Yes | Yes | Yes | 50 | 50 | N/S | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes
Needle Guides
Transrectal | Yes | Yes | Yes | Yes | Yes | N/S | Yes | Yes | Yes | N/A | No | N/A | N/A | n/a | N/A | N/A | N/A | N/A | N/A | Yes | Yes | Yes | N/S | Yes | Yes | Yes | Yes | No | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/S | N/S | No | Yes | Yes | Yes | No | Yes | Yes
Transperineal | Yes | No | No | No | Yes | N/S | No | No | No | N/A | No | N/A | N/A | n/a | N/A | N/A | N/A | N/A | N/A | No | No | No | N/S | Yes | Yes | Yes | Yes | No | N/A | No | Yes | No | No | No | No | No | No | No | No | Yes | Yes | Yes | N/S | N/S | No | No | No | No | No | No | No
Other Features
Single/Dual monitors | 17-in. HD + HDMI out | 13.3-in. HD + HDMI out | 17- or 19" HD + HDMI out | 13.3-in. HD + HDMI out | Single + SVGA output | Single | Single | Single | Single | Yes | Single, 12.1-in. LCD | Single 17" HD LCD | Single, LCD | Single | Single, High res 19" LCD | Single, high-res 15-in. LCD | Single, HD 17-in. LCD | Single, high-res 15-in. LCD | Single, HD 17-in. LCD | 23" High Res LCD LED | 19-in. noninterlaced, high resolution | 19-in. noninterlaced, high resolution | 19-in. noninterlaced, high resolution | Single | Single | Single | Single | Single | Single and dual monitor | Single | Single | Single | Yes | Yes | Yes | Yes | Dual | Single | Single | Single | Single | Single | Optional | Optional | Optional | Single | Single | Single | Single | Single | Single
Split screens | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Split, quad, multi-slice | Split | Split, quad, Multi-Slice | Split and quad | n/a | Split and quad | Split and quad | Split and quad | Split and quad | Split and quad | XL&Std: Single,Split,Quad | Yes | Yes | Yes | Yes | Yes | Yes | Yes | side-by-side, horizontal | N/A | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Power requirements | 110-240 VAC | 110-240 VAC | 110-240 VAC | 110-240 VAC | 110-240 VAC | 100-120/200-240+/-10% | 100-240 VAC | 100-120 or 220-240 VAC | 100-120 or 220-240 VAC | 100-240 VAC, 50/60 Hz | 100-120 VAC or 220-240 VAC, 50/60Hz | 100-230 VAC, 50/60 Hz | 110-120, 220-240 |  | 100-240 VAC, 50/60 Hz | 100-240 VAC, 50/60 Hz | 100-240 VAC, 50/60 Hz | 100-240 VAC, 50/60 Hz | 100-240 VAC, 50/60 Hz | 100-240 VAC 50/60 Hz | 100-240 VAC 50/60 Hz | 100-240 VAC 50/60 Hz | 100-130/220-240 VAC, 50/60 Hz, 1,010 VA maximum |  |  |  |  | 120 VAC | 100-240 VAC | Standard USA | Standard USA | Standard USA |  |  |  |  | 100-240 V~, 1,400 VA, 50/60 Hz | 100-240V~, 1100VA, 50/60Hz | 100-240 VAC, 3.5A, 50-60 Hz | 100-120-200-240 VAC | 100-120-200-240 VAC | 100V, 115V, 230V 50/60Hz | Universal power supply | Universal power supply | Universal power supply | 120 VAC +-10%, 1.5 kVA | 12 0VAC +-10%, 1.5 kVA | 120 VAC +-10%, 1.5 kVA | 120 VAC +-10%, 1.5 kVA | 100-260 VAC, 50-60 Hz | 100-260 VAC, 50-60 Hz
Battery operation | Yes - standby only | Yes | No | Yes | No (main unit)/Yes (Sat) | One hour | No | Yes (power assistant) | Yes, optional | Yes | Yes | No | Yes | no | No | Yes | Yes | Yes | Yes | No | No | No | Yes, option | N/A | N/A | Yes | N/A | Yes | Typical use 25-30 hours | Battery for standby | No | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes, 2 hrs scanning | Yes, 2 hrs scanning
H x W x D, in | 49-58 x 18 x 29-in. | 13 x 14 x 3-in. | 54-59 x 24 x 25.5-in. | 13 x 14 x 3-in. | 58 x 25 x 40-in. | 367 W x 364 D x 98 H mm | 67 x 23 x 32.5 inches | 68.9-45.3 x 23 x 32.5 | N/S | Height: 70 mm (2.75 in) console only 100 mm (3.94 in) with handle; width: 295 mm (11.61 in) console only 343 mm (13.50 in) with handle; length: 346 mm (13.62 in) console only 375 mm (14.76 in) with handle | 28.2 x 27.4 x 5.6 cm (11.1 x 10.8 x 2.2-in.) | 54.4 x 84.4 x 115.0 cm (21 3/4 x 33 1/4 x 45 3/8-in.) | 6.4 x 35.8 x 31.3 (2.5 x 14.2 x 12.4-in.) | 74 in. x 29 in. x 34 in. | 149.5 cm x 50 cm x 81 cm (58.9" x 19.7" x 31.9") | 6.4 x 35.8 x 31.3 cm (2.5 x 14.2 x 12.4-in.) | 123 x 55 x 70 cm (48.4 x 21.7 x 27.6-in.) | 6.4 x 35.8 x 31.3 cm (2.5 x 14.2 x 12.4-in.) | 123 x 55 x 70 (48.4 x 21.7 x 27.6-in.) |  | 129 x 58 x 93 (50.8 x 22.8 x 36.6) | 129 x 57.9 x 93 (50.8 x 22.8 x 36.6) | [97.5-172.5] x 62 x 84.8 ([38.4-67.9] x 24.4 x 33.4) | 51-69 H x 21 W x 31-in. D | 51-67"H x 19.5"W x 27.5"D | 3.3-15"H x 13'W x 9-20"D | 47-57"H x 17"W x 23"D | 14.5 x 17.8 x 3.5 | 4.5 x 2.7 x 0.8 | 70 x 23 x 37 | 53.1 x 19.7 x 33.5 | 56 x 20 x 29 | 57.5 x 23.9 x 43 | 57.5 x 23.9 x 43 | 56-64 x 22.5 x 38.7 | 56-64 x 22.5 x 38.7 | 52.8 x 22 x 38.5 | 51 x 22 x 20 | 2.5 x 15 x 14 | 138.6-166.3cm (54.65.5 in) x 55.6 cm (21.9 in) x 90.5 cm (35.6 in) | 138.6-166.3cm (54.65.5 in) x 55.6 cm (21.9 in) x 90.5 cm (35.6 in) | 130-156.7cm (51.2-61.7in) x 62.3cm (24.5in) x 110.3cm (43.4in) | 3.5 x 15.6 x 15.3 | 12.64 x 8.82 x 1.26 | 14.35 x 9.82 x 2.25 | (54.7-70.5) x 23 x 35 in | (52.8-68.4) x 20.4 x 34.6 in | (51.4 - 66.9) x 18.6 x 30.9 in | 13.8 x 3.9 x 15.7 in | 50.5-62 x 20.1 x 28.2 | 50.5-62 x 20.1 x 28.2
Weight, lb | 143 lbs. | 12.4 lbs. | 121 lbs. | 12.4 lbs. | 220 lbs. | 6.9 kg w/o batt | 297 lbs | 187.4 lbs | N/S | Weight with battery: approx. 5.2 Kg (11.5 lbs) | 4.0 kg (8.8 lbs) with probe | 130 Kg (286 lbs) | 5.8 kg (12.7 lbs) | 590 lbs. | 58 Kg (128 lbs) | 5.8 kg (12.7 lbs) | <70 Kg (154 lbs) | 5.8 kg (12.7 lbs) | <70 Kg (154 lbs) | Not specified | N/S | N/S | N/S | 258 lbs | 198 lbs | 19.75 lbs | 138 lbs | 17.2 lb, with battery | 13.8 oz. | 245 | 287 | 137 | 230 | 230 | 184.4 without peripherals | 184.4 without peripherals | 308.6 lb | 238 lb | 13.67 lb | 225 lb | 225 lb | 425 lb fully configured | 14.8 | 5 | 10.5 | 146 kg (319 lbs) | 125 kg (275 lbs) | 75 kg (165 lbs) | 8.2 kg (18 lbs) | 147 | 147
Warranty | EsaoteCare 1-5 years | EsaoteCare 1-5 years | EsaoteCare 1-5 years | EsaoteCare 1-5 years | EsaoteCare 1-5 years | 5 years, 2 years probes | Full, One-Year | Full, one year | Full, one year | 1 year, 3 year, 5 year | 1 year, 3 year, 5 year | 2 year (1 year optional) | 1 year | Full, One-Year | 3 year | 1 year | 1 year | 1 year | 1 year | 1 year | 1 year | 1 year | 1 year | 1year | 1year | 1 year | 1year | 5 years | 1 year parts and labor | One year | Two years | Two years | 1 year | 1 year | 1 year | 1 year | 2 year | 2 year | 5 year | Yes | Yes | Yes | Multiple year available | Multiple year available | Multiple year available | 1 year | 1 year | 1 year | 5 years | 5 years | 5 years
Other specifications